PASSIVE TREATMENT OF DENTS RUN SITE PA38951

C. Denholm, T. Danehy, S. Busler, and M. Dunn2

Abstract.  A contract with the US Army Corps of Engineers, Baltimore District was received by BioMost, Inc., to design an innovative passive system to treat drainage from an abandoned underground coal mine.  Construction of the system was completed in 2008.  The discharges can be characterized as highly acidic (pH 2.7, 1400 mg/L acidity) with moderately high metal concentrations, having average total iron, manganese, and aluminum values of 270 mg/L, 20 mg/L, and 120 mg/L, respectively.  The passive system utilizes a variety of treatment components including an anoxic limestone drain, mixed-media vertical flow ponds, a horizontal flow limestone bed, settling ponds, wetlands, etc.  Of particular interest is the use of oxidation and precipitation channels (OPC) to form iron solids at low pH.  Preliminary results indicate that on average about 265 mg/L of dissolved iron is being removed at 2.6-3.2 pH.  Removal of iron within the OPC is expected to decrease operation and maintenance requirements while increasing the overall life of the system.  Other design considerations included recovering both iron-bearing material removed at low pH and manganese-bearing material removed at circumneutral pH, decreasing the potential for saturation with respect to gypsum, increasing alkalinity through anaerobic decomposition and sulfate reduction in alkaline mine drainage sources, and creating elk habitat.  Currently, the final system effluent is net alkaline (7.5 pH, 255 mg/L alkalinity, -220 mg/L acidity) with total iron and aluminum less than 1 mg/L and total manganese less than 6 mg/L.

_______________________________

1Presented at the 2010 West Virginia Mine Drainage Task Force Symposium, Morgantown,WV.  March 30-31, 2010.

2Clifford F. Denholm, IV, Env. Scientist; Timothy P. Danehy, QEP; Shaun L. Busler, GISP; Margaret H. Dunn, PG are with BioMost, Inc., 434 Spring Street Extension, Mars, PA 16046.